[image: image1.jpg]BLOCK

allanblock.com



Specification Guidelines: 
Allan Block Modular Retaining Wall Systems


The following specifications provide Allan Block Corporation's typical requirements and recommendations. At the engineer of record's discretion these specifications may be revised to accommodate site specific design requirements.

SECTION 1

PART 1: GENERAL

1.1
Scope

Work includes furnishing and installing modular concrete block retaining wall units to the lines and grades designated on the construction drawings and as specified herein.

1.2 
Applicable Sections of Related Work

Section 2:  Geogrid Wall Reinforcement 

1.3 
Reference Standards

A. ASTM C1372 Standard Specification for Segmental Retaining Wall Units.

B. ASTM C1262 Evaluating the Freeze thaw Durability of Manufactured CMU’s and Related concrete Units

C. ASTM D698 Moisture Density Relationship for Soils, Standard Method

D. ASTM D422 Gradation of Soils

E. ASTM C140 Sample and Testing concrete Masonry Units

1.4 
Delivery, Storage, and Handling

A. Contractor shall check the materials upon delivery to assure proper material has been received.

B. Contractor shall prevent excessive mud, cementitious material, and like construction debris from coming in contact with the materials.

C. Contractor shall protect the materials from damage. Damaged material shall not be incorporated in the project (ASTM C1372).
1.5 
Contractor Requirements

Contractors shall be trained and certified by local manufacturer or equivalent accredited organization.

A. Allan Block has a certification program that is accredited.  Identify when advanced certification levels are appropriate based on complexity and criticality of project application.
B. Contractors shall provide a list of projects they have completed.

PART 2: MATERIALS

2.1 
Modular Wall Units

A. Wall units shall be Allan Block Retaining Wall units as produced by a licensed manufacturer.

B. Wall units shall have minimum 28-day compressive strength of 3000 psi (20.7 MPa) in accordance with ASTM C1372.  The concrete units shall have adequate freeze-thaw protection with an average absorption rate in accordance with ASTM C1372 or an average absorption rate of 7.5 lb./ft³ (120 kg/m³) for northern climates and 10 lb./ft³ (160 kg/m³) for southern climates.

C. Exterior dimensions shall be uniform and consistent. Maximum dimensional deviations on the height of any two units shall be 0.125 in. (3 mm).

D. Wall units shall provide a minimum of 110 lbs total weight per square foot of wall face area (555 kg/m²).  Hollow cores to be filled with wall rock and compacted by using plate compactor on top of wall units (see section 3.4). Unit weight of wall rock in cores may be less than 100% depending on compaction levels.
E. Exterior face shall be textured. Color as specified by owner.
F. Freeze Thaw Durability:  Like all concrete products, dry-cast concrete SRW units are susceptible to freeze-thaw degradation with exposure to de-icing salts and cold temperature. This is a concern in northern tier states or countries that use deicing salts. Based on good performance experience by several agencies, ASTM C1372, or equivalent governing standard or public authority, Standard Specification for Segmental Retaining Wall Units should be used as a model, except that, to increase durability, the compressive strength for the units should be increased to a minimum of 4,000 – 5,800 psi (28 - 40 MPa) unless local requirements dictate higher levels. Also, maximum water absorption should be reduced and requirements for freeze-thaw testing increased.
a. Require a current passing ASTM C1262 or equivalent governing standard or public authority, test report from material supplier in northern or cold weather climates. 

b. See the Best Practices for SRW Design document for detailed information on freeze thaw durability testing criteria and regional temperature and exposure severity figures and tables to define the appropriate zone and requirements for the project.
2.2 
Wall Rock

A. Material must be well-graded compactable aggregate, 0.25 in. to 1.5 in., (6 mm - 38 mm) with no more than 10% passing the #200 sieve. (ASTM D422)

B. Material behind and within the blocks may be the same material.

2.3 
Infill Soil

A. Infill material shall be site excavated soils when approved by the on-site soils engineer unless otherwise specified in the drawings.  Unsuitable soils for backfill (heavy clays or organic soils) shall not be used in the reinforced soil mass.  Fine grained cohesive soils (ф less than 31° (Ref)) may be used in wall construction, but additional backfilling, compaction and water management efforts are required.  Poorly graded sands, expansive clays and/or soils with a plasticity index (PI) greater than 20 or a liquid limit (LL) greater than 40 should not be used in wall construction.

B. The infill soil used must meet or exceed the designed friction angle and description noted on the design cross sections and must be free of debris and consist of one of the following inorganic USCS soil types: GP, GW, SW, SP, GP-GM or SP-SM meeting the following gradation as determined in accordance with ASTM D422.
	Sieve Size
	Percent Passing

	1 inch  (25 mm)
	100 – 75

	No. 4  (4.75 mm)
	100 – 20

	No. 40  (0.425 mm)
	0 - 60

	No. 200  (0.075 mm)
	0 - 35


C. Where additional fill is required, contractor shall submit sample and specifications to the wall design engineer, or the onsite soils engineer for approval and the approving engineer must certify that the soils proposed for use has properties meeting or exceeding original design standards.

PART 3: WALL CONSTRUCTION

3.1
Excavation

A. Contractor shall excavate to the lines and grades shown on the construction drawings. Contractor shall use caution not to over-excavate beyond the lines shown, or to disturb the base elevations beyond those shown.

B. Contractor shall verify locations of existing structures and utilities prior to excavation.  Contractor shall ensure all surrounding structures are protected from the effects of wall excavation.
3.2 
Foundation Soil Preparation

A. Foundation soil shall be defined as any soils located beneath a wall.

B. Foundation soil shall be excavated as dimensioned on the plans and compacted to a minimum of 95% of Standard Proctor (ASTM D698) prior to placement of the base material.

C. Foundation soil shall be examined by the on-site soils engineer to ensure that the actual foundation soil strength meets or exceeds assumed design strength. Soil not meeting the required strength shall be removed and replaced with acceptable material.

3.3 
Base

A. The base material shall be the same as the Wall Rock material (Section 2.2) or a low permeable granular material.

B. Base material shall be placed as shown on the construction drawing. Top of base shall be located to allow bottom wall units to be buried to proper depths as per wall heights and specifications.

C. Base material shall be installed on undisturbed native soils or suitable replacement fills compacted to a minimum of 95% Standard Proctor (ASTM D698).

D. Base shall be compacted at 95% Standard Proctor (ASTM D698) to provide a level hard surface on which to place the first course of blocks. The base shall be constructed to ensure proper wall embedment and the final elevation shown on the plans. Well-graded sand can be used to smooth the top 1/2 in. (13 mm) on the base material.

E. Base material shall be a 4 in. (100 mm) minimum depth for walls under 4 ft. (1.2 m) and a 6 in. (150 mm) minimum depth for walls over 4 ft. (1.2 m).

F. Base material should be installed to allow for a minimum of one buried block to be extended into the slope to prevent erosion. 

3.4 
Unit Installation

A. Install units in accordance with the manufacturer’s instructions and recommendations for the specific concrete retaining wall unit, and as specified herein. 

B. Ensure that units are in full contact with base. Proper care shall be taken to develop straight lines and smooth curves on base course as per wall layout.

C. Fill all cores and cavities and a minimum of 12 in. (300 mm) behind the base course with wall rock. Use infill soils behind the wall rock and approved soils in front of the base course to firmly lock in place. Check again for level and alignment. Use a plate compactor to consolidate the area behind the base course. All excess material shall be swept from top of units.

D. Install next course of wall units on top of base course. Position blocks to be offset from seams of blocks below.  Perfect "running bond" is not essential, but a 3 in. (75 mm) minimum offset is recommended.  Check each block for proper alignment and level.  Fill all cavities in and around wall units and to a minimum of 12 in. (300 mm) depth behind block with wall rock. Block, wall rock and infill soil placed in uniform lifts not exceeding 8 in. (200 mm).  Compaction requirements for all soils in areas in, around and behind the reinforced mass shall be compacted to 95% of maximum Standard Proctor dry density (ASTM D698) with a moisture content control of +1% to -3% of optimum.

E. For taller wall applications, structural fill should be specified for a minimum bottom 1/3 to 1/2 of the reinforced fill.  If structural fill is not utilized in the reinforced mass, the depth of wall rock behind the block should be increased.  See the Best Practices for SRW Design document for more information.
F. The consolidation zone shall be defined as 3 ft (0.9 m) behind the wall.  Compaction within the consolidation zone shall be accomplished by using a hand operated plate compactor and shall begin by running the plate compactor directly on the block   and then compacting in parallel paths from the wall face until the entire consolidation zone has been compacted.  A minimum of two passes of the plate compactor are required with maximum lifts of 8 in. (200 mm).  Expansive or fine-grained soils may require additional compaction passes and/or specific compaction equipment such as a sheepsfoot roller.  Maximum lifts of 4 in. (100 mm) may be required to achieve adequate compaction within the consolidation zone.  Employ methods using lightweight compaction equipment that will not disrupt the stability or batter of the wall.  Final compaction requirements in the consolidation zone shall be established by the engineer of record.
G. Install each subsequent course in like manner. Repeat procedure to the extent of wall height. ﻿ Individual course height may vary due to allowable block manufacturing tolerances per ATSM C1372.  Contractor must verify wall height, if noted as being critical, prior to completion of construction to ensure the elevation of the top of the wall or the controlling elevation matches desired plan elevation, if noted as critical.  Contractor must follow this method for single walls or walls that branch off into a terraced orientation.
H. As with any construction work, some deviation from construction drawing alignments will occur.  Variability in construction of SRWs is approximately equal to that of cast-in-place concrete retaining walls.  As opposed to cast-in-place concrete walls, alignment of SRWs can be simply corrected or modified during construction.  Based upon examination of numerous completed SRWs, the following recommended minimum tolerances can be achieved with good construction techniques.

Vertical Control - ±1.25 in. (32 mm) max over 10 ft. (3 m) distance

Horizontal Location Control - straight lines ±1.25 in. (32 mm) over a 10 ft. (3 m) distance

Rotation - from established plan wall batter: ±2.0°
3.5 
Additional Construction Notes

A. When one wall branches into two terraced walls, it is important to note that the soil behind the lower wall is also the foundation soil beneath the upper wall. This soil shall be compacted to a minimum of 95% of Standard Proctor (ASTM D698) prior to placement of the base material. Achieving proper compaction in the soil beneath an upper terrace prevents settlement and deformation of the upper wall.  One way is to replace the soil with wall rock and compact in 8 in. (200 mm) lifts. When using on-site soils, compact in maximum lifts of 4 in. (100 mm) or as required to achieve specified compaction.

B. Vertical filter fabric use is not suggested for use with cohesive soils. Clogging of such fabric creates unacceptable hydrostatic pressures in soil reinforced structures. When filtration is deemed necessary in cohesive soils, use a three-dimensional filtration system of clean sand or filtration aggregate.  Vertical filter fabric may be used to separate wall rock zone from fine grained, sandy infill soils if the design engineer deems it necessary based on potential water migration from above or below grade, through the reinforced zone into the wall rock on the project.  Horizontal filter fabric should be placed above the wall rock column to prevent soils from above migrating into the wall rock column.
C. Embankment protection fabric is used to stabilize rip rap and foundation soils in water applications and to separate infill materials from the retained soils.  This fabric should permit the passage of fines to preclude clogging of the material.  Embankment protection fabric shall be a high strength polypropylene monofilament material designed to meet or exceed typical NTPEP specifications; stabilized against ultraviolet (UV) degradation and typically exceeding the values in Section 3, Table 1 in the AB Spec Book.

D. Water management is of extreme concern during and after construction. Steps must be taken to ensure that drainpipes are properly installed and vented to daylight or connected to an underground drainage system and a grading plan has been developed that routes water away from the retaining wall location. Site water management is required both during construction of the wall and after completion of construction.

Consult the Allan Block Engineering Department for details at 800-899-5309. 

Specifications are subject to change without notice.
Specification Guidelines: 
Geogrid Reinforcement Systems
The following specifications provide Allan Block Corporation's typical requirements and recommendations. At the engineer of record's discretion these specifications may be revised to accommodate site specific design requirements.

SECTION 2:  GEOGRID REINFORCEMENT SYSTEMS

PART 1: GENERAL

1.1 
Scope

Work includes furnishings and installing geogrid reinforcement, wall block, and backfill to the lines and grades designated on the construction drawings and as specified herein.

1.2 
Applicable Section of Related Work

Section 1: Allan Block Modular Retaining Wall Systems.

1.3 
Reference Standards

See specific geogrid manufacturer’s reference standards.

Additional Standards:

A. ASTM D4595 - Tensile Properties of Geotextiles by the Wide-Width Strip Method

B. ASTM D5262 - Test Method for Evaluating the Unconfined Creep Behavior of Geogrids

C. ASTM D6638 Grid Connection Strength (SRW-U1)

D. ASTM D6916 SRW Block Shear Strength (SRW-U2)

E. GRI-GG4 - Grid Long Term Allowable Design Strength (LTADS)

F. ASTM D6706 - Grid Pullout of Soil

1.4 
Delivery, Storage, and Handling

A. Contractor shall check the geogrid upon delivery to assure that the proper material has been received.

B. Geogrid shall be stored above -10 F (-23 C).

C. Contractor shall prevent excessive mud, cementitious material, or other foreign materials from coming in contact with the geogrid material.

PART 2: MATERIALS

2.1 
Definitions

A. Geogrid products shall be of high-density polyethylene or polyester yarns encapsulated in a protective coating specifically fabricated for use as a soil reinforcement material.

B. Concrete retaining wall units are as detailed on the drawings and shall be Allan Block Retaining Wall Units.

C. Drainage material is free draining granular material as defined in Section 1, 2.2 Wall Rock.

D. Infill soil is the soil used as fill for the reinforced soil mass.

E. Foundation soil is the in-situ soil.

2.2 
Products

Geogrid shall be the type as shown on the drawings having the property requirements as described within the manufacturer’s specifications.

2.3 
Acceptable Manufacturers

A manufacturer's product shall be approved by the wall design engineer.

PART 3: WALL CONSTRUCTION

3.1 
Foundation Soil Preparation

A. Foundation soil shall be excavated to the lines and grades as shown on the construction drawings, or as directed by the on-site soils engineer.

B. Foundation soil shall be examined by the on-site soils engineer to assure that the actual foundation soil strength meets or exceeds assumed design strength.

C. Over-excavated areas shall be filled with compacted backfill material approved by on-site soils engineer.

D. Contractor shall verify locations of existing structures and utilities prior to excavation. Contractor shall ensure all surrounding structures are protected from the effects of wall excavation.

3.2 
Wall Construction

Wall construction shall be as specified under Section 1, Part 3; Wall Construction.

3.3 
Geogrid Installation

A. Install Allan Block wall to designated height of first geogrid layer. Backfill and compact the wall rock and infill soil in layers not to exceed 8 in. (200 mm) lifts behind wall to depth equal to designed grid length before grid is installed.

B. Cut geogrid to designed embedment length and place on top of the Allan Block units to back edge of the raised front lip or within 1 in. (25 mm) of the concrete retaining wall face when using AB Fieldstone.   Extend away from wall approximately 3% above horizontal on compacted infill soils.

C. Lay geogrid at the proper elevation and orientations shown on the construction drawings or as directed by the wall design engineer.

D. Correct orientation of the geogrid shall be verified by the contractor and on-site soils engineer. Strength direction is typically perpendicular to wall face.

E. Follow manufacturer’s guidelines for overlap requirements. In curves and corners, layout shall be as specified in in Design Detail: Using Grid with Corners and Curves, in the AB Spec Book.
F. Place next course of Allan Block on top of grid and fill block cores with wall rock to lock in place. Remove slack and folds in grid and stake to hold in place.

G. Adjacent sheets of geogrid shall be butted against each other at the wall face to achieve 100 percent coverage.

H. Geogrid lengths shall be continuous. Splicing parallel to the wall face is not allowed.

3.4 
Fill Placement

A. Infill soil shall be placed in lifts and compacted as specified under Section 1, Part 3.4, Unit Installation.

B. Infill soil shall be placed, spread and compacted in such a manner that minimizes the development of slack or movement of the geogrid.

C. Only hand-operated compaction equipment shall be allowed within 3 ft. (0.9 m) behind the wall. This area shall be defined as the consolidation zone. Compaction in this zone shall begin by running the plate compactor directly on the block and then compacting in parallel paths from the wall face back, until the entire consolidation zone has been compacted. A minimum of two passes of the plate compactor are required with maximum lifts of 8 in. (200 mm). Section 1, Part 3.4 E, Page 3.

D. When fill is placed and compaction cannot be defined in terms of Standard Proctor Density, then compaction shall be performed using ordinary compaction process and compacted so that no deformation is observed from the compaction equipment or to the satisfaction of the engineer of record or the site soils engineer.

E. Tracked construction equipment shall not be operated directly on the geogrid. A minimum fill thickness of 6 in. (150 mm) is required prior to operation of tracked vehicles over the geogrid. Turning of tracked vehicles should be kept to a minimum to prevent tracks from displacing the fill and damaging the geogrid.

F. Rubber-tired equipment may pass over the geogrid reinforcement at slow speeds, less than 10 mph (16 Km/h). Sudden braking and sharp turning shall be avoided.

G. The infill soil shall be compacted to achieve 95% Standard Proctor (ASTM D698). Soil tests of the infill soil shall be submitted to the on-site soils engineer for review and approval prior to the placement of any material. The contractor is responsible for achieving the specified compaction requirements. The on-site soils engineer may direct the contractor to remove, correct or amend any soil found not in compliance with these written specifications.

H. An independent testing firm should be hired by the owner to provide services.

I. Independent firm to keep inspection log and provide written reports at predetermined intervals to the owner.

J. Testing frequency should be set to establish a proper compaction protocol to consistently achieve the minimum compaction requirements set by the design requirements.  If full time inspection and testing at 8 inch (20 cm) lifts is not provided, then the following testing frequency should be followed:  

a. One test for every 8 inches (20 cm) of vertical fill placed and compacted, for every 25 lineal feet (7.6 m) of retaining wall length, starting on the first course of block.

b. Vary compaction test locations to cover the entire area of reinforced zone; including the area compacted by the hand-operated compaction equipment.

c. Once protocol is deemed acceptable, testing can be conducted randomly at locations and frequencies determined by the on-site soils engineer.

K. Slopes above the wall must be compacted and checked in a similar manner. 

3.5 
Special Considerations

A. Geogrid can be interrupted by periodic penetration of a column, pier or footing structure.

B. Fence post or railings should be positioned 3 ft. (0.9 m) behind the top course to allow proper overturning design.  Fence posts within 3 ft. (0.9 m) need to consider the local overturning forces applied to the wall facing.








C. If site conditions will not allow geogrid embedment length, consider the following alternatives:

• Masonry Reinforced Walls 

• Soil Nailing

• Increased Wall Batter 


• Earth Anchors

• Double Allan Block Wall 


• Rock Bolts

• No-Fines Concrete


      See Design Details Page 16 and 17 of the AB Spec Book.

D. Allan Block walls will accept vertical and horizontal reinforcing with rebar and grout. A grouted connection could be used with geogrid reinforcement if needed. 

E. For masonry reinforced walls, block modification may be necessary to allow for rebar placement.  Masonry wall and parapet design and construction requires site specific analysis for every wall case.  

F. Allan Block may be used in a wide variety of water applications as indicated in Water Management, Part 7.8.

Consult the Allan Block Engineering Department for details at 800-899-5309. 

Specifications are subject to change without notice.
Specification Guidelines: 
Water Management
The following specifications provide Allan Block Corporation's typical requirements and recommendations. At the engineer of record's discretion these specifications may be revised to accommodate site specific design requirements.

SECTION 3:  WATER MANAGEMENT

PART 1: GENERAL DRAINAGE

1.1 
Surface Drainage

Rainfall or other water sources such as irrigation activities collected by the ground surface atop the retaining wall can be defined as surface water. Retaining wall design shall take into consideration the management of this water.

A. At the end of each day’s construction and at final completion, grade the backfill to avoid water accumulation behind the wall or in the reinforced zone.

B. Surface water must not be allowed to pond or be trapped in the area above the wall or at the toe of the wall.

C. Existing slopes adjacent to retaining wall or slopes created during the grading process shall include drainage details so that surface water will not be allowed to drain over the top of the slope face and/or wall. This may require a combination of berms and surface drainage ditches.

D. Irrigation activities at the site shall be done in a controlled and reasonable manner. If an irrigation system is employed, the design engineer or irrigation manufacturer shall provide details and specification for required equipment to ensure against over irrigation which could damage the structural integrity of the retaining wall system.

E. Surface water that cannot be diverted from the wall must be collected with surface drainage swales and drained laterally in order to disperse the water around the wall structure. Construction of a typical swale system shall be in accordance with Design Detail 5: Swales, of the AB Spec Book.

1.2 
Grading

The shaping and re-contouring of land in order to prepare it for site development is grading. Site grading shall be designed to route water around the walls.

A. Establish final grade with a positive gradient away from the wall structure. Concentrations of surface water runoff shall be managed by providing necessary structures, such as paved ditches, drainage swales, catch basins, etc.

B. Grading designs must divert sources of concentrated surface flow, such as parking lots, away from the wall.

1.3 
Drainage System

The internal drainage systems of the retaining wall can be described as the means of eliminating the buildup of incidental water which infiltrates the soils behind the wall. Drainage system design will be a function of the water conditions on the site.  Possible drainage facilities include Toe and Heel drainage collection pipes and blanket or chimney rock drains or others. Design engineer shall determine the required drainage facilities to completely drain the retaining wall structure for each particular site condition.
A. All walls will be constructed with a minimum of 12 in. (300 mm) of wall rock directly behind the wall facing. The material shall meet or exceed the specification for wall rock outlined in Section 1, 2.2 Wall Rock.

B. The drainage collection pipe, drain pipe, shall be a 4 in. (100 mm) perforated or slotted PVC, or corrugated HDPE pipe as approved by engineer of record.

C. All walls will be constructed with a 4 in. (100 mm) diameter drain pipe placed at the lowest possible elevation within the 12 in. (300 mm) of wall rock. This drain pipe is referred to as a toe drain, Section 3, 1.4 Toe Drain.

D. Geogrid Reinforced Walls shall be constructed with an additional 4 in. (100 mm) drain pipe at the back bottom of the reinforced soil mass. This drain pipe is referred to as a heel drain, Section 3, 1.5 Heel Drain

1.4 
Toe Drain

A toe drain pipe should be located at the back of the wall rock behind the wall as close to the bottom of the wall as allowed while still maintaining a positive gradient for drainage to daylight, or a storm water management system. Toe drains are installed for incidental water management not as a primary drainage system. 

A. For site configurations with bottoms of the base on a level plane it is recommended that a minimum one percent gradient be maintained on the placement of the pipe with outlets on 50 ft. (15 m) centers, or 100 ft. (30 m) centers if pipe is crowned between the outlets. This would provide for a maximum height above the bottom of the base in a flat configuration of no more than 6 in. (150 mm).

B. For rigid drain pipes with drain holes the pipes should be positioned with the holes located down. Allan Block does not require that toe drain pipes be wrapped when installed into base rock complying with the specified wall rock material.

C. Pipes shall be routed to storm drains where appropriate or through or under the wall at low points when the job site grading and site layout allows for routing. Appropriate details shall be included to prevent pipes from being crushed, plugged, or infested with rodents.

D. On sites where the natural drop in grade exceeds the one percent minimum, drain pipes outlets shall be on 100 foot (30 m) centers maximum. This will provide outlets in the event that excessive water flow exceeds the capacity of pipe over long stretches.

E. Drain pipe must be raised to accommodate outlets through the wall face when daylighting below grade is not possible.  Refer to the Design Detail 4: Alternate Drain, Page 13 of the AB Spec Book.
1.5 
Heel Drain

The purpose of the heel drain is to pick up any water that migrates from behind the retaining wall structure at the cut and route the water away from the reinforced mass during the construction process and for incidental water for the life of the structure.

A. The piping used at the back of the reinforced mass shall have a one percent minimum gradient over the length, but it is not critical for it to be positioned at the very bottom of the cut. The heel drain should be vented at 100ft (30 m) intervals along the entire length of the wall and should not be tied into the toe drain system. 

B. The pipe may be a rigid pipe with holes at the bottom with an integral sock encasing the pipe or a corrugated perforated flexible pipe with a sock to filter out fines when required based on soil conditions.   For infill soils with a high percentage of sand and/or gravel the heel drain pipe does not need to be surrounded by wall rock. When working with soils containing fine grained cohesive soils having a PI of greater than 6 and LL of 30 or greater, 1 ft3. (.03 m3) of drainage rock is required around the pipe for each 1 ft. (30 cm) of pipe length.
1.6 
Ground Water

Ground water can be defined as water that occurs within the soil. It may be present because of surface infiltration or water table fluctuation. Ground water movement must not be allowed to come in contact with the retaining wall.

A. If water is encountered in the area of the wall during excavation or construction, a drainage system (chimney, composite or blanket) must be installed as directed by the wall design engineer.

B. Standard retaining wall designs do not include hydrostatic forces associated with the presence of ground water. If adequate drainage is not provided the retaining wall design must consider the presence of the water.

C. When non-free draining soils (soils with friction angles less than 30 degrees) are used in the reinforced zone, the incorporation of a chimney and blanket drain should be added to minimize the water penetration into the reinforced mass. Refer to Design Detail 6: Chimney and Blanket Drain, Page 13 of the AB Spec Book.

a. Drain material to be consistent with wall rock material.  For more information on wall rock material see Specification Guidelines: Allan Block Modular Retaining Wall Systems, section 2.1. 

b. Manufactured chimney and blanket drains to be approved by the geotechnical and/or the local engineer of record prior to use.

1.7 
Concentrated Water Sources

All collection devices such as roof downspouts, storm sewers, and curb gutters are concentrated water sources. They must be designed to accommodate maximum flow rates and to vent outside of the wall area.

A. All roof downspouts of nearby structures shall be sized with adequate capacity to carry storm water from the roof away from the wall area. They shall be connected to a drainage system in closed pipe and routed around the retaining wall area.

B. Site layout must take into account locations of retaining wall structures and all site drainage paths. Drainage paths should always be away from retaining wall structures.

C. Storm sewers and catch basins shall be located away from retaining wall structures and designed so as not to introduce any incidental water into the reinforced soil mass.

D. A path to route storm sewer overflow must be incorporated into the site layout to direct water away from the retaining wall structure.

1.8 
Water Application

Retaining walls constructed in conditions that allow standing or moving water to come in contact with the wall face are considered water applications. These walls require specific design and construction steps to ensure performance. Refer to Design Detail 7 and 8: Water Applications, Page 13 of the AB Spec Book.

A. The wall rock should be placed to the limits of the geogrid lengths up to a height equal to 12 inches (30 cm) higher than the determined high water mark.  If the high water mark is unknown, the entire infill zone should be constructed with wall rock. 

B. The drain pipe should be raised to the low water elevation to aid in the evacuation of water from the reinforced mass as water level fluctuates.

C. Embankment protection fabric should be used under the infill mass and up the back of the infill mass to a height of 12 inches (30 cm) higher than the determined high water mark.

a. Embankment protection fabric is used to stabilize rip rap and foundation soils in water applications and to separate infill materials from the retained soils.  This fabric should permit the passage of fines to preclude clogging of the material.  Embankment protection fabric shall be a high strength polypropylene monofilament material designed to meet or exceed typical NTPEP specifications; stabilized against ultraviolet (UV) degradation and typically meets or exceeds the values in Table 1.
Table 1:  Embankment Protection Fabric Specifications

	Mechanical Property
	Determination Method

	  Tensile Strength = 225 lbs. (39.4 kN/m)

	ASTM D-4595

	  Puncture Strength = 950 lbs. (4228 N)

	ASTM D-6241

	  Apparent Opening Size (AOS) 
  = U.S. Sieve #70 (0.212 mm)  

	ASTM D-4751

	  Trapezoidal Tear = 100 lbs. (445 N)

	ASTM D-4533

	  Percent Open Area = 4%

	COE-02215

	  Permeability = 0.01 cm/sec

	ASTM D-4491


D. For walls having moving water or wave action, natural or manufactured rip-rap in front of the wall to protect the toe of the wall from scour effects is recommended.
Consult the Allan Block Engineering Department for details at 800-899-5309. 

Specifications are subject to change without notice.
Specification Guidelines:
Terraced Walls with Allan Block

The following specifications provide Allan Block Corporation's typical requirements and recommendations. At the engineer of record's discretion these specifications may be revised to accommodate site specific design requirements.

SECTION 4:  TERRACED WALLS
PART 1: GENERAL 

1.1
Scope

Work includes furnishing and installing modular concrete block retaining wall units in a terraced application to the lines and grades designated on the construction drawings and as specified herein.

When constructing multiple walls in a terraced application, the overall height of the terraced structure is the sum of all the heights of the individual walls plus any adjustments between walls allowed by the engineer of record.  Design considerations include: 

Geogrid lengths for each individual wall are typically 60% (min) of the overall height of the terraced structure or controlled by global stability analysis.  It is recommended that the top layer of grid extend under the base of the upper terrace.  Spacing of geogrid should be maintained throughout the terraced structure.  Adjusting terraced heights to even course numbers to facilitate 2-course spacing is recommended.  When offsetting terraced structures the top of the lower wall should be the same as the bottom of the next terrace.  The soil between the walls should be graded to start at the lower wall and sloped to bury at least one full block of the upper terrace.   

1.2 
Applicable Sections of Related Work

Allan Block Modular Retaining Wall Systems

Geogrid Reinforced Systems

1.3 
Reference Standards

A. ASTM C1372 Standard Specification for Segmental Retaining Wall Units.

B. ASTM C1262 Evaluating the Freeze thaw Durability of Manufactured CMU’s and Related Concrete Units

C. ASTM D698 Moisture Density Relationship for Soils, Standard Method

D. ASTM D422 Gradation of Soils

E. ASTM D4595 - Tensile Properties of Geotextiles by the Wide-Width Strip Method

F. ASTM D5262 - Test Method for Evaluating the Unconfined Creep Behavior of Geogrids

G. ASTM D6638 Grid Connection Strength (SRW-U1)

H. ASTM D6916 SRW Block Shear Strength (SRW-U2)

I. GRI-GG4 - Grid Long Term Allowable Design Strength (LTADS)

J. ASTM D6706 - Grid Pullout of Soil

1.4 
Delivery, Storage, and Handling

A. Contractor shall check the materials upon delivery to assure proper material has been received.

B. Contractor shall prevent excessive mud, cementitious material, and like construction debris from coming in contact with the materials.

C. Contractor shall protect the materials from damage. Damaged material shall not be incorporated in the project (ASTM C1372).

D. Geogrid shall be stored above -10 F (-23 C).

PART 2: MATERIALS

2.1 
Modular Wall Units

A. Wall units shall be Allan Block Retaining Wall units as produced by a licensed manufacturer.

B. Wall units shall have minimum 28-day compressive strength of 3,000 psi (20.7 MPa) in accordance with ASTM C1372.  The concrete units shall have adequate freeze-thaw protection with an average absorption rate in accordance with ASTM C1372 or an average absorption rate of 7.5 lb/ft³ (120 kg/m³) for northern climates and 10 lb/ft³ (160 kg/m³) for southern climates.

C. Exterior dimensions shall be uniform and consistent. Maximum dimensional deviations on the height of any two units shall be 0.125 in. (3 mm).

D. Wall units shall provide a minimum of 110 lbs total weight per square foot of wall face area (555 kg/m2). Fill contained within the units may be considered 80% effective weight.

E. Exterior face shall be textured. Color as specified by owner.

2.2 
Wall Rock

A. Material must be well-graded compactable aggregate, 0.25 in. to 1.5 in., (6 mm - 38 mm) with no more than 10% passing the #200 sieve. (ASTM D422)

B. Material behind and within the blocks may be the same material.

2.3 
Geogrid Reinforcement

A. Geogrid products shall be of high-density polyethylene or polyester yarns encapsulated in a protective coating specifically fabricated for use as a soil reinforcement material.

B. Geogrid shall be the type as shown on the drawings having the property requirements as described within the manufacturer’s specifications.

C. A manufacturer's product shall be approved by the wall design engineer.

PART 3: WALL CONSTRUCTION

3.1 
Excavation

A. Contractor shall excavate to the lines and grades shown on the construction drawings. Contractor shall use caution not to over-excavate beyond the lines shown, or to disturb the base elevations beyond those shown.

B. Contractor shall verify locations of existing structures and utilities prior to excavation. Contractor shall ensure all surrounding structures are protected from the effects of wall excavation.

C. During wall layout, when the top of the wall location is essential to the function of the buildable land created by the terraced wall structure, adjustments can to the spacing(s) between walls where allowed by the engineer of record.  Spacing between walls as noted are reference and the hard dimension is from the toe of the lower wall to the toe of the upper wall.

3.2 
Foundation Soil Preparation for Bottom Terraced Wall

A. Foundation soil shall be excavated to the lines and grades as shown on the construction drawings, or as directed by the on-site soils engineer.

B. Foundation soil shall be examined by the on-site soils engineer to assure that the actual foundation soil strength meets or exceeds assumed design strength.

C. Over-excavated areas shall be filled with compacted backfill material approved by on-site soils engineer.

D. The entire area below the upper terrace(s) or structure(s) must be compacted to a minimum of 95% of maximum Standard Proctor dry density (ASTM D698) with a moisture content control of +1% to -3% of optimum to minimize potential settlement and must meet all requirements of the engineer of record.  

E. Contractor shall verify locations of existing structures and utilities prior to excavation. Contractor shall ensure all surrounding structures are protected from the effects of wall excavation.

3.3 
Base for Bottom Terraced Wall

A. The base material shall be the same as the Wall Rock material (Part 9.2) or a low permeable granular material.

B. Base material shall be placed as shown on the construction drawing. Top of base shall be located to allow bottom wall units to be buried to proper depths as per wall heights and specifications.

C. Base material shall be installed on undisturbed native soils or suitable replacement fills compacted to a minimum of 95% Standard Proctor (ASTM D698).

D. Base shall be compacted at 95% Standard Proctor (ASTM D698) to provide a level hard surface on which to place the first course of blocks. The base shall be constructed to ensure proper wall embedment and the final elevation shown on the plans. Well-graded sand can be used to smooth the top 1/2 in. (13 mm) on the base material.

E. Base material shall be a 4 in. (100 mm) minimum depth for walls under 4 ft (1.2 m) and a 6 in. (150 mm) minimum depth for walls over 4 ft. (1.2 m).

F. Base material should be installed to allow for a minimum of one buried block to be extended into the slope to prevent erosion.  

3.4 
Unit Installation for Bottom Terraced Wall

A. Install units in accordance with the manufacturer’s instructions and recommendations for the specific concrete retaining wall unit, and as specified herein in Section 1, Part 3.4 Unit Installation. 

B. Ensure that units are in full contact with base. Proper care shall be taken to develop straight lines and smooth curves on base course as per wall layout.

C. Fill all cores and cavities and a minimum of 12 in. (300 mm) behind the base course with wall rock. Use infill soils behind the wall rock and approved soils in front of the base course to firmly lock in place. Check again for level and alignment. Use a plate compactor to consolidate the area behind the base course. All excess material shall be swept from top of units.

D. Install additional courses of wall units. Position blocks to be offset from seams of blocks below. Perfect "running bond" is not essential, but a 3 in. (75 mm) minimum offset is recommended. Check each block for proper alignment and level. 

E. Install each subsequent course in like manner. Repeat procedure to the extent of wall height.

3.5
Geogrid Installation for Bottom Terraced Wall 

A. Install Allan Block wall to designated height of first geogrid layer. Backfill and compact the wall rock and infill soil in layers not to exceed 8 in. (200 mm) lifts behind wall to depth equal to designed grid length before grid is installed.

B. Cut geogrid to designed embedment length and place on top of the Allan Block units to back edge of the raised front lip or within 1 in. (25 mm) of the concrete retaining wall face when using AB Fieldstone.   Extend away from wall approximately 3% above horizontal on compacted infill soils.

C. Lay geogrid at the proper elevation and orientations shown on the construction drawings or as directed by the wall design engineer.

D. Correct orientation of the geogrid shall be verified by the contractor and on-site soils engineer. Strength direction is typically perpendicular to wall face.

E. Follow manufacturer’s guidelines for overlap requirements. In curves and corners, layout shall be as specified in Design Detail 9-12: Using Grid with Corners and Curves, see page 14 of the AB Spec Book. 

F. Place next course of Allan Block on top of grid and fill block cores with wall rock to lock in place. Remove slack and folds in grid and stake to hold in place.

G. Adjacent sheets of geogrid shall be butted against each other at the wall face to achieve 100 percent coverage.

H. Geogrid lengths shall be continuous. Splicing parallel to the wall face is not allowed.

3.6 
Fill Placement for Bottom Terraced Wall

A. Infill soil shall be placed in lifts and compacted as specified under Section 1, Part 3.4, Unit Installation.
B. Infill soil shall be placed, spread and compacted in such a manner that minimizes the development of slack or movement of the geogrid.

C. Only hand-operated compaction equipment shall be allowed within 3 ft. (0.9 m) behind the wall. This area shall be defined as the consolidation zone. Compaction in this zone shall begin by running the plate compactor directly on the block and then compacting in parallel paths from the wall face back, until the entire consolidation zone has been compacted. A minimum of two passes of the plate compactor are required with maximum lifts of 8 in. (200 mm). Section 1, Part 3.4 E. 

D. When fill is placed and compaction cannot be defined in terms of Standard Proctor Density, then compaction shall be performed using ordinary compaction process and compacted so that no deformation is observed from the compaction equipment or to the satisfaction of the engineer of record or the site soils engineer.

E. Tracked construction equipment shall not be operated directly on the geogrid. A minimum fill thickness of 6 in. (150 mm) is required prior to operation of tracked vehicles over the geogrid. Turning of tracked vehicles should be kept to a minimum to prevent tracks from displacing the fill and damaging the geogrid.

F. Rubber-tired equipment may pass over the geogrid reinforcement at slow speeds, less than 10 mph (16 Km/h). Sudden braking and sharp turning shall be avoided.

G. The infill soil shall be compacted to achieve 95% Standard Proctor (ASTM D698). Soil tests of the infill soil shall be submitted to the on-site soils engineer for review and approval prior to the placement of any material. The contractor is responsible for achieving the specified compaction requirements. The on-site soils engineer may direct the contractor to remove, correct or amend any soil found not in compliance with these written specifications.

H. An independent testing firm should be hired by the owner to provide services.

I. Independent firm to keep inspection log and provide written reports at predetermined intervals to the owner.

J. Testing frequency should be set to establish a proper compaction protocol to consistently achieve the minimum compaction requirements set by the design requirements.  If full time inspection and testing at 8 in. (20 cm) lifts is not provided, then the following testing frequency should be followed:  

a. One test for every 8 in. (20 cm) of vertical fill placed and compacted, for every 25 lineal feet (7.6 m) of retaining wall length, starting on the first course of block.

b. Vary compaction test locations to cover the entire area of reinforced zone; including the area compacted by the hand-operated compaction equipment.

c. Once protocol is deemed acceptable, testing can be conducted randomly at locations and frequencies determined by the on-site soils engineer.

K. Slopes above the wall must be compacted and checked in a similar manner. 

L. Special attention to compaction and inspection of same should be paid to area centered on where the base of the next wall in terrace would be located.  If soil moisture conditions make it difficult to achieve compaction levels of 95% of Standard Proctor or above for nonstructural fill changing to a structural fill may be required and the stamping engineer for record should be contacted for specific instructions.

3.7
Foundation Soil Preparation for Upper Terraced Walls

A. Foundation soil shall be excavated to the lines and grades as shown on the construction drawings, or as directed by the on-site soils engineer.

B. Foundation soil shall be examined by the on-site soils engineer to assure that the actual foundation soil strength meets or exceeds assumed design strength.

C. Over-excavated areas shall be filled with compacted backfill material approved by on-site soils engineer.

D. The entire area below the upper terrace(s) or structure(s) must be compacted to a minimum of 95% of maximum Standard Proctor dry density (ASTM D698) with a moisture content control of +1% to -3% of optimum to minimize potential settlement and must meet all requirements of the engineer of record.  

E. Contractor shall verify locations of existing structures and utilities prior to excavation. Contractor shall ensure all surrounding structures are protected from the effects of wall excavation.

F. Special consideration shall be exercised to ensure that fill area which will be supporting the base of the upper terraced wall has been compacted in lifts not exceeding 8” in height to 95% of Standard Proctor.

3.8
Base for Upper Terraced Walls

A. The base material shall be the same as the Wall Rock material (Part 9.2) or a low permeable granular material.  

B. Grid from the lower wall shall extend below the base as required by the panel section drawings.

C. Base material shall be placed as shown on the construction drawing. Top of base shall be located to allow bottom wall units to be buried to proper depths as per wall heights and specifications.

D. Base material shall be installed on undisturbed native soils or suitable replacement fills compacted to a minimum of 95% Standard Proctor (ASTM D698).

E. Base shall be compacted at 95% Standard Proctor (ASTM D698) to provide a level hard surface on which to place the first course of blocks. The base shall be constructed to ensure proper wall embedment and the final elevation shown on the plans. Well-graded sand can be used to smooth the top 1/2 in. (13 mm) on the base material.

F. Base material shall be a 4 in. (100 mm) minimum depth for walls under 4 ft (1.2 m) and a 6 in. (150 mm) minimum depth for walls over 4 ft (1.2 m).

G. Base material should be installed to allow for a minimum of one buried block to be extended into the slope to prevent erosion.

3.9 
Unit Installation for Upper Terraced Walls

A. Install units in accordance with the manufacturer’s instructions and recommendations for the specific concrete retaining wall unit, and as specified herein Section 1, Part 3.4, Unit Installation. 

B. Ensure that units are in full contact with base. Proper care shall be taken to develop straight lines and smooth curves on base course as per wall layout.

C. Fill all cores and cavities and a minimum of 12 in. (300 mm) behind the base course with wall rock. Use infill soils behind the wall rock and approved soils in front of the base course to firmly lock in place. Check again for level and alignment. Use a plate compactor to consolidate the area behind the base course. All excess material shall be swept from top of units.

D. Install additional courses of wall units. Position blocks to be offset from seams of blocks below. Perfect "running bond" is not essential, but a 3 in. (75 mm) minimum offset is recommended. Check each block for proper alignment and level. 

E. Install each subsequent course in like manner. Repeat procedure to the extent of wall height

3.10
Geogrid Installation for Upper Terraced Walls 
A. Install Allan Block wall to designated height of first geogrid layer. Backfill and compact the wall rock and infill soil in layers not to exceed 8 in. (200 mm) lifts behind wall to depth equal to designed grid length before grid is installed.

B. Cut geogrid to designed embedment length and place on top of the Allan Block units to back edge of the raised front lip or within 1 in. (25 mm) of the concrete retaining wall face when using AB Fieldstone.   Extend away from wall approximately 3% above horizontal on compacted infill soils.

C. Lay geogrid at the proper elevation and orientations shown on the construction drawings or as directed by the wall design engineer.

D. Correct orientation of the geogrid shall be verified by the contractor and on-site soils engineer. Strength direction is typically perpendicular to wall face.

E. Follow manufacturer’s guidelines for overlap requirements. In curves and corners, layout shall be as specified in Design Detail 9-12: Using Grid with Corners and Curves, see page 14 of the AB Spec Book.
F. Place next course of Allan Block on top of grid and fill block cores with wall rock to lock in place. Remove slack and folds in grid and stake to hold in place.

G. Adjacent sheets of geogrid shall be butted against each other at the wall face to achieve 100 percent coverage.

H. Geogrid lengths shall be continuous. Splicing parallel to the wall face is not allowed.

3.11 Fill Placement for Upper Terraced Walls

A. Infill soil shall be placed in lifts and compacted as specified under under Section 1, Part 3.4, Unit Installation.
B. Infill soil shall be placed, spread and compacted in such a manner that minimizes the development of slack or movement of the geogrid.

C. Only hand-operated compaction equipment shall be allowed within 3 ft. (0.9 m) behind the wall. This area shall be defined as the consolidation zone. Compaction in this zone shall begin by running the plate compactor directly on the block and then compacting in parallel paths from the wall face back, until the entire consolidation zone has been compacted. A minimum of two passes of the plate compactor are required with maximum lifts of 8 in. (200 mm).  Section 1, Part 3.4 E.
D. When fill is placed and compaction cannot be defined in terms of Standard Proctor Density, then compaction shall be performed using ordinary compaction process and compacted so that no deformation is observed from the compaction equipment or to the satisfaction of the engineer of record or the site soils engineer.

E. Tracked construction equipment shall not be operated directly on the geogrid. A minimum fill thickness of 6 in. (150 mm) is required prior to operation of tracked vehicles over the geogrid. Turning of tracked vehicles should be kept to a minimum to prevent tracks from displacing the fill and damaging the geogrid.

F. Rubber-tired equipment may pass over the geogrid reinforcement at slow speeds, less than 10 mph (16 Km/h). Sudden braking and sharp turning shall be avoided.

G. The infill soil shall be compacted to achieve 95% Standard Proctor (ASTM D698). Soil tests of the infill soil shall be submitted to the on-site soils engineer for review and approval prior to the placement of any material. The contractor is responsible for achieving the specified compaction requirements. The on-site soils engineer may direct the contractor to remove, correct or amend any soil found not in compliance with these written specifications.

H. An independent testing firm should be hired by the owner to provide services.

I. Independent firm to keep inspection log and provide written reports at predetermined intervals to the owner.

J. Testing frequency should be set to establish a proper compaction protocol to consistently achieve the minimum compaction requirements set by the design requirements.  If full time inspection and testing at 8 in. (20 cm) lifts is not provided, then the following testing frequency should be followed:  

a. One test for every 8 in. (20 cm) of vertical fill placed and compacted, for every 25 lineal feet (7.6 m) of retaining wall length, starting on the first course of block.

b. Vary compaction test locations to cover the entire area of reinforced zone; including the area compacted by the hand-operated compaction equipment.

c. Once protocol is deemed acceptable, testing can be conducted randomly at locations and frequencies determined by the on-site soils engineer.

K. Slopes above the wall must be compacted and checked in a similar manner. 

L. Special attention to compaction and inspection of same should be paid to area centered on where the base of the next wall in terrace would be located.  If soil moisture conditions make it difficult to achieve compaction levels of 95% of Standard Proctor or above for nonstructural fill changing to a structural fill may be required and the stamping engineer for record should be contacted for specific instructions.

3.12 Additional Construction Notes

A. Water management is of extreme concern. Steps must be taken to ensure that drainpipes are properly installed and vented to daylight and a grading plan has been developed that routes water away from the retaining wall location. 

B. Toe and heel drains shall be routed as to not drain onto the lower terraces. Drainpipes shall be extended to provide a path for water to be channeled away from the wall structure. Pipes at exit locations shall be marked to facilitate identification of where water is draining from.

C. Site water management is required both during construction of the wall and after completion of construction.

Consult the Allan Block Engineering Department to ensure you have the latest specifications or for more details at 800-899-5309.  Specifications are subject to change without notice.
Specification Guidelines:

No Fines Concrete Backfill with Allan Block

The following specifications provide Allan Block Corporation's typical requirements and recommendations. At the engineer of record's discretion these specifications may be revised to accommodate site specific design requirements.

SECTION 5:  NO-FINES CONCRETE BACKFILL
PART 1: GENERAL 

1.1
Scope

Work includes furnishing and installing modular concrete block retaining wall units and No-fines concrete backfill to the lines and grades designated on the construction drawings and as specified herein.

1.2 
Applicable Sections of Related Work

Allan Block Modular Retaining Wall Systems.

1.3 
Reference Standards

A. ASTM C1372 Standard Specification for Segmental Retaining Wall Units.

B. ASTM C1262 Evaluating the Freeze-Thaw Durability of Manufactured CMU’s and Related Concrete Units

C. ASTM D698 Moisture Density Relationship for Soils, Standard Method

D. ASTM D422 Gradation of Soils

E. ASTM C140 Sample and Testing Concrete Masonry Units

F. ASTM C33 Standard Specification for Concrete Aggregates

G. ASTM C94 Standard Specification for Ready Mixed Concrete

1.4 
Delivery, Storage, and Handling

A. Contractor shall check the materials upon delivery to assure proper material has been received.

B. Contractor shall prevent excessive mud, cementitious material, and like construction debris from coming in contact with the materials.

C. Contractor shall protect the materials from damage. Damaged material shall not be incorporated in the project (ASTM C1372).

D. Contractor shall be prepared for rapid placement of No-fines concrete upon delivery to site.

E. No-fines concrete backfill shall not be placed when ambient temperature is below 40°F (4°C) without utilizing cold weather construction practices.

PART 2: MATERIALS

2.1 
Modular Wall Units

A. Wall units shall be Allan Block Retaining Wall units as produced by a licensed manufacturer.

B. Wall units shall have minimum 28-day compressive strength of 3,000 psi (20.7 MPa) in accordance with ASTM C1372.  The concrete units shall have adequate freeze-thaw protection with an average absorption rate in accordance with ASTM C1372 or an average absorption rate of 7.5 lb/ft3 (120 kg/m3) for northern climates and 10 lb/ft3 (160 kg/m3) for southern climates.

C. Exterior dimensions shall be uniform and consistent. Maximum dimensional deviations on the height of any two units shall be 0.125 in. (3 mm).

D. Wall units shall provide a minimum of 110 lbs total weight per square foot of wall face area (555 kg/m2). Fill contained within the units may be considered 80% effective weight.

E. Exterior face shall be textured. Color as specified by owner.

2.2 
Wall Rock

A. Material must be well-graded compactable aggregate, 0.25 in. to 1.5 in., (6 mm - 38 mm) with no more than 10% passing the #200 sieve. (ASTM D422)

B. Material behind and within the blocks may be the same material.

2.3 
No-Fines Concrete Backfill/Stabilized Aggregate

A. No-fines concrete is a combination of coarse aggregate, cement, and water.  The cement shall comply with the requirements for use in ready-mix concrete (ASTM C94).  The water to cement ratio for No-fines concrete should range between 0.3-0.5.

B. Coarse aggregate must meet the requirements for concrete aggregates (ASTM C33).  Aggregate size should be poorly graded with sizes between 5/8 in. to 1 in. (19 mm to 25 mm) aggregate with an aggregate/ cement ratio of 5.5:1 to 6.5:1. 

C. No-fines product density will range depending on the mix design.  Typical unit weight will range between 100 lb/ft3 to 135 lb/ft3 (1,600 kg/m3 to 2,160 kg/m3).
D. No-fines concrete void content shall range between 18% - 35% (ASTM C140).

E. No-fines concrete should only be used with open celled (hollow core) blocks.

PART 3: WALL CONSTRUCTION

3.1 
Excavation

A. Contractor shall excavate to the lines and grades shown on the construction drawings. Contractor shall use caution not to over-excavate beyond the lines shown, or to disturb the base elevations beyond those shown.

B. Contractor shall verify locations of existing structures and utilities prior to excavation. Contractor shall ensure all surrounding structures are protected from the effects of wall excavation.

3.2 
Foundation Soil Preparation

A. Foundation soil shall be defined as any soils located beneath a wall.

B. Foundation soil shall be excavated as dimensioned on the plans and compacted to a minimum of 95% of Standard Proctor (ASTM D698) prior to placement of the base material.

C. Foundation soil shall be examined by the on-site soils engineer to ensure that the actual foundation soil strength meets or exceeds assumed design strength. Soil not meeting the required strength shall be removed and replaced with acceptable material.

3.3 
Base

A. The base material shall be the same as the Wall Rock material (Part 12.2) or a low permeable granular material.

B. Base material shall be placed as shown on the construction drawing. Top of base shall be located to allow bottom wall units to be buried to proper depths as per wall heights and specifications.

C. Base material shall be installed on undisturbed native soils or suitable replacement fills compacted to a minimum of 95% Standard Proctor (ASTM D698).

D. Base shall be compacted at 95% Standard Proctor (ASTM D698) to provide a level hard surface on which to place the first course of blocks. The base shall be constructed to ensure proper wall embedment and the final elevation shown on the plans. Well-graded sand can be used to smooth the top 1/2 in. (13 mm) on the base material.

E. Base material shall be a 4 in. (100 mm) minimum depth for walls under 4 ft (1.2 m) and a 6 in. (150 mm) minimum depth for walls over 4 ft (1.2 m).

3.4 
Unit Installation

A. Install units in accordance with the manufacturer’s instructions and recommendations for the specific concrete retaining wall unit, and as specified herein. 

B. Ensure that units are in full contact with base. Proper care shall be taken to develop straight lines and smooth curves on base course as per wall layout.

C. Install next course of wall units on top of base course. Position blocks to be offset from seams of blocks below. Perfect "running bond" is not essential, but a 3 in. (75 mm) minimum offset is recommended. Check each block for proper alignment and level.

D. Fill the voids of the block and backfill to the designated depth with No-fines concrete backfill.  The vertical height of a pour should not exceed 16 in. (400 mm) or two courses of block.

E. The No-fines concrete backfill shall be placed and compacted as soon as possible after mixing as it tends to dry out rapidly because of its open structure. Compaction is achieved by rodding the concrete in and around the blocks; vibration is typically not required, and heavy tamping is not necessary.

F. Brush the top of the blocks to remove any excess material.  It is recommended that this be done before allowing the concrete to harden.

G. Install additional courses of wall units. Position blocks to be offset from seams of blocks below. Perfect "running bond" is not essential, but a 3 in. (75 mm) minimum offset is recommended. Check each block for proper alignment and level. 

H. Additional No-fines concrete backfill pours can be made as soon as the additional block courses are placed. 

I. Install each subsequent course in like manner. Repeat procedure to the extent of wall height.

J. Allow 2-3 hours for the No-fines concrete to cure after a maximum of 4 ft. (1.2 m) of wall height.

3.5 
Additional Construction Notes

A. In straight wall segments it is recommended that at least one of the back wings of the Allan Blocks be removed to help secure the block face to the concrete backfill.  

B. Filter fabric use behind the wall is not suggested for use with cohesive soils. Clogging of such fabric creates unacceptable hydrostatic pressures in soil reinforced structures. When filtration is deemed necessary in cohesive soils, use a three-dimensional filtration system of clean sand or filtration aggregate.

C. Filter fabric use above the No-fines concrete backfill can be used to prevent soil from migrating into the concrete mass.

D. Water management is of extreme concern during and after construction. Steps must be taken to ensure that drainpipes are properly installed and vented to daylight and a grading plan has been developed that routes water away from the retaining wall location. Site water management is required both during construction of the wall and after completion of construction.

Consult the Allan Block Engineering Department for details at 800-899-5309. 
Specifications are subject to change without notice.
Specification Guidelines:
Complex Composite Structures with Allan Block

The following specifications provide Allan Block Corporation's typical requirements and recommendations. At the engineer of record's discretion these specifications may be revised to accommodate site specific design requirements.

SECTION 6:  COMPLEX COMPOSITE STRUCTURES
PART 1: GENERAL 
1.1
Scope

Work includes furnishing and installing modular concrete block retaining wall units in complex composite structure applications to the lines and grades designated on the construction drawings and as specified herein.

When evaluation of a single wall section with two different structures or reinforcement options must include external stability for both the upper and lower structures along with Internal Compound Stability to analyze the internal calculations.  Running Internal Compound Stability does not replace the need to have a global analysis conducted to ensure the overall site stability is achieved.  The upper structure calculations should also include a second external analysis of a gravity wall for those unreinforced courses above either the top layer of geogrid or above the No-fines mass.  The lower structure can be a geogrid reinforced mass with grid lengths at least 60% of the height of the total structure or a No-fines concrete mass.  A limiting ratio of the upper structure depth to the lower structure depth of 70% is recommended.
1.2 
Applicable Sections of Related Work

Allan Block Modular Retaining Wall Systems
Geogrid Reinforced Systems

No Fines Concrete Backfill with Allan Block
1.3 
Reference Standards

A. ASTM C1372 - Standard Specification for Segmental Retaining Wall Units.

B. ASTM C1262 - Evaluating the Freeze thaw Durability of Manufactured CMU’s and Related Concrete Units

C. ASTM D698 - Moisture Density Relationship for Soils, Standard Method

D. ASTM D422 - Gradation of Soils

E. ASTM D4595 - Tensile Properties of Geotextiles by the Wide-Width Strip Method

F. ASTM D5262 - Test Method for Evaluating the Unconfined Creep Behavior of Geogrids

G. ASTM D6638 - Grid Connection Strength (SRW-U1)

H. ASTM D6916 - SRW Block Shear Strength (SRW-U2)

I. GRI-GG4 - Grid Long Term Allowable Design Strength (LTADS)
J. ASTM D6706 - Grid Pullout of Soil 
K. ASTM C140 - Sample and Testing concrete Masonry Units
L. ASTM C33 - Standard Specification for Concrete Aggregates
M. ASTM C94 - Standard Specification for Ready Mixed Concrete

1.4 
Delivery, Storage, and Handling

A. Contractor shall check the materials upon delivery to assure proper material has been received.

B. Contractor shall prevent excessive mud, cementitious material, and like construction debris from coming in contact with the materials.

C. Contractor shall protect the materials from damage. Damaged material shall not be incorporated in the project (ASTM C1372).
D. Geogrid shall be stored above -10 F (-23 C). Contractor shall be prepared for rapid placement of No-fines concrete upon delivery to site.

E. No-fines concrete backfill shall not be placed when ambient temperature is below 40°F (4°C) without utilizing cold weather construction practices.
PART 2: MATERIALS

2.1 
Modular Wall Units

A. Wall units shall be Allan Block Retaining Wall units as produced by a licensed manufacturer.

B. Wall units shall have minimum 28-day compressive strength of 3,000 psi (20.7 MPa) in accordance with ASTM C1372.  The concrete units shall have adequate freeze-thaw protection with an average absorption rate in accordance with ASTM C1372 or an average absorption rate of 7.5 lb/ft³ (120 kg/m³) for northern climates and 10 lb/ft³ (160 kg/m³) for southern climates.

C. Exterior dimensions shall be uniform and consistent. Maximum dimensional deviations on the height of any two units shall be 0.125 in. (3 mm).

D. Wall units shall provide a minimum of 110 lbs total weight per square foot of wall face area (555 kg/m2). Fill contained within the units may be considered 80% effective weight.

E. Exterior face shall be textured. Color as specified by owner.

2.2 
Wall Rock

A. Material must be well-graded compactable aggregate, 0.25 in. to 1.5 in., (6 mm - 38 mm) with no more than 10% passing the #200 sieve. (ASTM D422)

B. Material behind and within the blocks may be the same material.

2.3 
Geogrid Reinforcement
A. Geogrid products shall be of high-density polyethylene or polyester yarns encapsulated in a protective coating specifically fabricated for use as a soil reinforcement material.

B. Geogrid shall be the type as shown on the drawings having the property requirements as described within the manufacturer’s specifications.

C. A manufacturer's product shall be approved by the wall design engineer.
2.4
No-Fines Concrete Backfill/Stabilized Aggregate

A. No-fines concrete is a combination of coarse aggregate, cement, and water.  The cement shall comply with the requirements for use in ready-mix concrete (ASTM C94).  The water to cement ratio for No-fines concrete should range between 0.3-0.5

B. Coarse aggregate must meet the requirements for concrete aggregates (ASTM C33).  Aggregate size should be poorly graded with sizes between 5/8 in. to 1 in. (19 mm to 25 mm) aggregate with an aggregate/ cement ratio of 5.5:1 to 6.5:1. 

C. No-fines product density will range depending on the mix design.  Typical unit weight will range between 100 lb/ft³ to 135 lb/ft³
D. No-fines concrete void content shall range between 18% - 35% (ASTM C140).

E. No-fines concrete should only be used with open celled (hollow core) blocks.

PART 3: WALL CONSTRUCTION

3.1 
Excavation for Complex Composite Structures

A. Contractor shall excavate to the lines and grades shown on the construction drawings. Contractor shall use caution not to over-excavate beyond the lines shown, or to disturb the base elevations beyond those shown.

B. Contractor shall verify locations of existing structures and utilities prior to excavation. Contractor shall ensure all surrounding structures are protected from the effects of wall excavation.

3.2 
Foundation Soil Preparation for Complex Composite Structures

A. Foundation soil shall be excavated to the lines and grades as shown on the construction drawings, or as directed by the on-site soils engineer.

B. Foundation soil shall be examined by the on-site soils engineer to assure that the actual foundation soil strength meets or exceeds assumed design strength.

C. Over-excavated areas shall be filled with compacted backfill material approved by on-site soils engineer.

D. Contractor shall verify locations of existing structures and utilities prior to excavation. Contractor shall ensure all surrounding structures are protected from the effects of wall excavation.

3.3 
Base for Complex Composite Structures

A. The base material shall be the same as the Wall Rock material (Part 15.2) or a low permeable granular material.

B. Base material shall be placed as shown on the construction drawing. Top of base shall be located to allow bottom wall units to be buried to proper depths as per wall heights and specifications.

C. Base material shall be installed on undisturbed native soils or suitable replacement fills compacted to a minimum of 95% Standard Proctor (ASTM D698).

D. Base shall be compacted at 95% Standard Proctor (ASTM D698) to provide a level hard surface on which to place the first course of blocks. The base shall be constructed to ensure proper wall embedment and the final elevation shown on the plans. Well-graded sand can be used to smooth the top 1/2 in. (13 mm) on the base material.

E. Base material shall be a 4 in. (100 mm) minimum depth for walls under 4 ft (1.2 m) and a 6 in. (150 mm) minimum depth for walls over 4 ft (1.2 m).

F. Base material should be installed to allow for a minimum of one buried block to be extended into the slope to prevent erosion.  

3.4 
Unit Installation for Complex Composite Structures
A. Install units in accordance with the manufacturer’s instructions and recommendations for the specific concrete retaining wall unit, and as specified in Section 1, Part 3.4 Unit Installation.
B. Ensure that units are in full contact with base. Proper care shall be taken to develop straight lines and smooth curves on base course as per wall layout.

C. Fill all cores and cavities and a minimum of 12 in. (300 mm) behind the base course with wall rock. Use infill soils behind the wall rock and approved soils in front of the base course to firmly lock in place. Check again for level and alignment. Use a plate compactor to consolidate the area behind the base course. All excess material shall be swept from top of units.

D. Install additional courses of wall units. Position blocks to be offset from seams of blocks below. Perfect "running bond" is not essential, but a 3 in. (75 mm) minimum offset is recommended. Check each block for proper alignment and level. 

E. Install each subsequent course in like manner. Repeat procedure to the extent of wall height.

3.5
Geogrid Installation for Complex Composite Structures 

A. Install Allan Block wall to designated height of first geogrid layer. Backfill and compact the wall rock and infill soil in layers not to exceed 8 in. (200 mm) lifts behind wall to depth equal to designed grid length before grid is installed.

B. Cut geogrid to designed embedment length and place on top of the Allan Block units to back edge of the raised front lip or within 1 in. (25 mm) of the concrete retaining wall face when using AB Fieldstone.   Extend away from wall approximately 3% above horizontal on compacted infill soils.

C. Lay geogrid at the proper elevation and orientations shown on the construction drawings or as directed by the wall design engineer.

D. Correct orientation of the geogrid shall be verified by the contractor and on-site soils engineer. Strength direction is typically perpendicular to wall face.

E. Follow manufacturer’s guidelines for overlap requirements. In curves and corners, layout shall be as specified in Design Detail 9-12: Using Grid with Corners and Curves, see page 14 of the AB Spec Book.
F. Place next course of Allan Block on top of grid and fill block cores with wall rock to lock in place. Remove slack and folds in grid and stake to hold in place.

G. Adjacent sheets of geogrid shall be butted against each other at the wall face to achieve 100% coverage.

H. Geogrid lengths shall be continuous. Splicing parallel to the wall face is not allowed.

3.6 
Fill Placement for Complex Composite Structures
A. Infill soil shall be placed in lifts and compacted as specified under Section 1, Part 3.4 Unit Installation.
B. Infill soil shall be placed, spread and compacted in such a manner that minimizes the development of slack or movement of the geogrid.

C. Only hand-operated compaction equipment shall be allowed within 3 ft. (0.9 m) behind the wall. This area shall be defined as the consolidation zone. Compaction in this zone shall begin by running the plate compactor directly on the block and then compacting in parallel paths from the wall face back, until the entire consolidation zone has been compacted. A minimum of two passes of the plate compactor are required with maximum lifts of 8 in. (200 mm).  Section 1, Part 3.4 Unit Installation. 
D. When fill is placed and compaction cannot be defined in terms of Standard Proctor Density, then compaction shall be performed using ordinary compaction process and compacted so that no deformation is observed from the compaction equipment or to the satisfaction of the engineer of record or the site soils engineer.

E. Tracked construction equipment shall not be operated directly on the geogrid. A minimum fill thickness of 6 in. (150 mm) is required prior to operation of tracked vehicles over the geogrid. Turning of tracked vehicles should be kept to a minimum to prevent tracks from displacing the fill and damaging the geogrid.

F. Rubber-tired equipment may pass over the geogrid reinforcement at slow speeds, less than 10 mph (16 Km/h). Sudden braking and sharp turning shall be avoided.

G. The infill soil shall be compacted to achieve 95% Standard Proctor (ASTM D698). Soil tests of the infill soil shall be submitted to the on-site soils engineer for review and approval prior to the placement of any material. The contractor is responsible for achieving the specified compaction requirements. The on-site soils engineer may direct the contractor to remove, correct or amend any soil found not in compliance with these written specifications.

H. An independent testing firm should be hired by the owner to provide services.

I. Independent firm to keep inspection log and provide written reports at predetermined intervals to the owner.

J. Testing frequency should be set to establish a proper compaction protocol to consistently achieve the minimum compaction requirements set by the design requirements.  If full time inspection and testing at 8 in. (20 cm) lifts is not provided, then the following testing frequency should be followed:  

a. One test for every 8 in. (20 cm) of vertical fill placed and compacted, for every 25 lineal feet (7.6 m) of retaining wall length, starting on the first course of block.

b. Vary compaction test locations to cover the entire area of reinforced zone; including the area compacted by the hand-operated compaction equipment.

c. Once protocol is deemed acceptable, testing can be conducted randomly at locations and frequencies determined by the on-site soils engineer.

K. Slopes above the wall must be compacted and checked in a similar manner. 

3.7 
Unit Installation for Complex Composite Structure using No-Fines Concrete

A. Install units in accordance with the manufacturer’s instructions and recommendations for the specific concrete retaining wall unit, and as specified herein. 

B. Ensure that units are in full contact with base. Proper care shall be taken to develop straight lines and smooth curves on base course as per wall layout.

C. Install next course of wall units on top of base course. Position blocks to be offset from seams of blocks below. Perfect "running bond" is not essential, but a 3 in. (75 mm) minimum offset is recommended. Check each block for proper alignment and level.

D. Fill the voids of the block and backfill to the designated depth with No-fines concrete backfill.  The vertical height of a pour should not exceed 16 in. (400 mm) or two courses of block.

E. The No-fines concrete backfill shall be placed and compacted as soon as possible after mixing as it tends to dry out rapidly because of its open structure. Compaction is achieved by rodding the concrete in and around the blocks; vibration is typically not required, and heavy tamping is not necessary.

F. Brush the top of the blocks to remove any excess material.  It is recommended that this be done before allowing the concrete to harden.

G. Install additional courses of wall units. Position blocks to be offset from seams of blocks below. Perfect "running bond" is not essential, but a 3 in. (75 mm) minimum offset is recommended. Check each block for proper alignment and level. 

H. Additional No-fines concrete backfill pours can be made as soon as the additional block courses are placed. 

I. Install each subsequent course in like manner. Repeat procedure to the extent of wall height.

J. Allow 2-3 hours for the No-fines concrete to cure after a maximum of 4 ft. (1.2 m) of wall height.
3.8 Additional Construction Notes

A. Water management is of extreme concern. Steps must be taken to ensure that drainpipes are properly installed and vented to daylight and a grading plan has been developed that routes water away from the retaining wall location. 

B. Drainpipes shall be extended to provide a path for water to be channeled away from the wall structure. Pipes at exit locations shall be marked to facilitate identification of where water is draining from.

C. Site water management is required both during construction of the wall and after completion of construction.

Consult the Allan Block Engineering Department to ensure you have the latest specifications or for more details at 800-899-5309.  Specifications are subject to change without notice.
Allan Block Corporation 7424 West 78th Street, Bloomington, MN 55439

Phone: (952) 835-5309     Fax: (952) 835-0013

allanblock.com
Allan Block Corporation 7424 West 78th Street, Bloomington, MN 55439

Phone: (952) 835-5309     Fax: (952) 835-0013

allanblock.com

